| Name | Desc. | Module | Qty Need |
| --- | --- | --- | --- |
| Siemens S7-1200 CPU1214C DC/DC/DC | 6ES7214-1AG40-0XB0 | Siemens CPU1212C | 1 |
| IIoT Gateway | Weintek cMT-G01 | cmt-svr-202wk | 1 |
| Power meter. | Schneider power logic PM5110. | METSEPM511 0. | 1 |
| Power meter. | Siemens Pac 2200. | 7KM2200 SERIES. | 0 |
| Remote I/O. | Ansamotion | 16 port | 1 |
| Power meter. | SENTRON PAC3220 LCD 96X96 mm Power Monitoring Device Controll panel instrument for electrical values protocol: Modbus TCP with graphics display U rated input: 690/400V 45-65Hz IE rated input: X/1A oder X/5A AC Power supply: 100 ... 250 V +-10 % AC/DC screw connections. | 7KM2111 SERIES. | 0 |
| Cartoon detection sensor. | through beam sensor CARLO GAVAZZI. | Through-beam Photoelectric Receiver, Range: 0-20000mm, Adjustable Sensitivity, infrared light 880nm, Power Supply : 10to40 VDC, N.O. and N.C., light and dark switching, M12 connection, M18 housing | 2 |
| Cartoon detection sensor. | retro reflective sensor CARLO GAVAZZI. | Retro-reflective Photoelectric Sensor, Range 3000mm, Infrared modulated light 880nm, Power Supply 10-40VDC, PNP Output, NO and NC, Light and Dark Switching, 2 m cable | 4 |
| Signal isolation relay. | Phoenix contact ssr. | PLC-OPT- 24DC/24DC/ 2. | 12 |
| Industrial Ethernet switch. | ANSAMOTION 8 PORT. | EDS-205A. | 2 |
| Rs485 to Ethernet converter. | HXSP- 2108E-C.. |  | 0 |
| Current transformer. | 100/5 | ENTES | 3 |
| Current transformer | 200/5 | ENTES | 3 |